2024 Annual Drinking Water Quality Report

El Jobean Water Association

PWS ID #: 6080081

The Peace River Manasota Regional Water Supply Authority (PRMRWSA) oversees the operations of the Peace River Manasota Regional Water Supply Facility (PRMRWSF), which uses the Peace River as its source of supply. The Peace River is a large river, by Florida standards, having a drainage area of 2,300 square miles. The Peace River headwaters originate in the Green Swamp of northern Polk County flowing through Lake Hancock, Winter Haven chain of lakes and Lake Hamilton.  The mouth of the Peace River is located in Punta Gorda; 120 miles downstream from the headwaters delivering needed fresh water to the Charlotte Harbor estuary. The water is treated for drinking by coagulation, flocculation, sedimentation, filtration, and is disinfected by chloramination.  The PRMRWSA presently sells water to Charlotte County, the City of North Port, DeSoto County, and Sarasota County.  Charlotte County sells the water to El Jobean Water Association.

The PRMRWSA and El Jobean Water Association routinely monitor for contaminants in your drinking water according to Federal and State laws, rules, and regulations.  Except where indicated otherwise, this report is based on the results of our monitoring for the period of January 1 to December 31, 2024.  Data obtained before January 1, 2024 and presented in this report are from the most recent testing done in accordance with the laws, rules, and regulations. We have learned that through our monitoring and testing that some constituents have been detected. If you have any questions about the data provided in this Annual Drinking Water Quality Report, please contact our office at 941-625 5548.

The Department of Environmental Protection performed a Source Water Assessment on our system in 2024.  These assessments were conducted to provide information about any potential sources of contamination in the vicinity of the Peace River Regional Water Supply surface water intakes.  Potential sources of contamination were identified to include underground petroleum storage tanks, injection wells, Brownfield site, landfill, and other delineated areas.  The concern level is considered to be Low. The assessment results are available on the FDEP Source Water Assessment and Protection Program website at https://prodapps.dep.state.fl.us/swapp/.

In the table below, you may find unfamiliar terms and abbreviations.  To help you better understand these terms we've provided the following definitions:

Action Level (AL): The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow.

Maximum Contaminant Level or MCL: The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal or MCLG: The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Parts per million (ppm) or Milligrams per liter (mg/L): one part by weight of analyte to 1 million parts by weight of the water sample.

Parts per billion (ppb) or Micrograms per liter (µg/L): one part by weight of analyte to 1 billion parts by weight of the water sample.

Picocurie per liter (pCi/L): measure of the radioactivity in water.

Maximum residual disinfectant level or MRDL:  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum residual disinfectant level goal or MRDLG:  The level of a drinking water disinfectant below which there is no known or expected risk to health.

Nephelometric Turbidity Unit (NTU): The measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

Radioactive Contaminants – Peace River Authority

| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | MCL Violation Y/N | Level Detected | Range of Results | MCLG | MCL | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Alpha emitters (pCi/L) | 1/24 – 12/24 | N | 2.4 | 08-2.4 | 0 | 15 | Erosion of natural deposits |
| combined radium (pCi/L) | 1/24 – 12/24 | N | 1.5 | .8-1.5 | 0 | 5 | Erosion of natural deposits |

Inorganic Contaminants – Peace River Authority

| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | MCL Violation Y/N | Level Detected | Range of Results | MCLG | MCL | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Barium (ppm) | 1/24 | N | .009 | .009 | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Selenium (ppb) | 1/24 | N | 2 | 2 | 50 | 50 | Discharge from petroleum and metal refineries, erosion of natural deposits; discharge from mines |
| Fluoride (ppm) | 1/24 | N | .362 | .362 | 4 | 4.0 | Erosion of natural deposits; discharge from fertilizer and aluminum factories. Water additive which promotes strong teeth when at optimum level of 0.7 |
| Nitrate (as Nitrogen) (ppm) | 1/24 | N | .552 | .552 | 1 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Sodium (ppm) | 1/24 | N | 48 | 48 | N/A | 160 | Saltwater intrusion, leaching from soil |

Synthetic Organic Contaminants including Pesticides and Herbicides   – Peace River Authority

| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | MCL Violation Y/N | Level Detected | Range of Results | MCLG | MCL | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Hexachlorocyclo pentadiene (ppb) | 7/23 | N | .081 | .081 | 50 | 50 | Discharge from chemical factories. |

Stage 1 Disinfectant/Disinfection Byproduct (D/DBP) Parameters – El Jobean Water Association

| Disinfectant or Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | MCL or MRDL Violation Y/N | Level Detected | Range of Results | ##### MCLG or MRDLG | MCL or MRDL | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Chloramines (ppm) | 1/24-12/24 | N | 3.35 | 1.34-3.8 | 4 | 4 | Water additive used to control microbes |

Stage 2 Disinfectant/Disinfection Byproduct (D/DBP) – El Jobean Water Association

| Haloacetic Acids (HAA5) (ppb) | 2/24, 5/24 8/24, 11/24 | N | 37 | 12-37 | N/A | 60 | By-product of drinking water disinfection |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TTHM (total trihalomethanes) (ppb) | 2/24, 5/24 8/24, 11/24 | N | 66 | 43-66 | N/A | 80 | By-product of drinking water disinfection |

Stage 2 Disinfectant/Disinfection Byproduct (D/DBP) – Charlotte County Utilities

| Haloacetic Acids (five) (HAA5) (ppb) | 2/24, 5/24 8/24, 11/24 | N | 27.2 | 15-39 | N/A | 60 | By-product of drinking water disinfection |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TTHM (total trihalomethanes) (ppb) | 2/24, 5/24 8/24, 11/24 | N | 50.4 | 37-68 | N/A | 80 | By-product of drinking water disinfection |

Lead and Copper (Tap Water) - El Jobean Water Association

| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) | AL Exceedance Y/N | 90th Percentile Result | No. of sampling sites exceeding the AL | Range of Results | MCLG | AL (Action Level) | Likely Source of Contamination |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Copper (tap water) (ppm) | 8/24 | N | 0.02 | 0 | NA | 1.3 | 1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead (tap water) (ppb) | 8/24 | N | 0.7 | 0 | NA | 0 | 15 | Corrosion of household plumbing systems and service lines connecting buildings to water mains; erosion of natural deposits |

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing.  El Jobean Water Association is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact our Office at 941-625 5548. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead.

El Jobean Water Association has completed a Lead Service Line Inventory in 2024 and has found all service lines to be of non-lead pipes. For more information on the inventory contact our Office at 941-625 5548.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

(A)	Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

(B)	Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can, also come from gas stations, urban stormwater runoff, and septic systems.

(C)	Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

(D)	Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the EPA prescribes regulations, which limit the amount of certain contaminants in water provided by public water systems. The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

Please DO NOT FLUSH your unused/unwanted medications down toilets or sink drains. For more information, please visit http://www.dep.state.fl.us/waste/categories/medications/pages/disposal.htm.